## Slide 1
Ion and Atom traps at
Laboratoire de Physique Corpusculaire de Caen
Introduction/History
LPC Trap
MOTRIMS
SPIRAL II
EMILIE
High Intensity
S3 Low Energy
QMS/PILGRIM
Conclusion
Slides from X Flechard, JF Cam, E Lienard

## Slide 2
Introduction/History
The devices we have develloped were built either for a physics case
Or a genral purpose beamlne
E.U. Networks Exotraps/Eurotraps….
-Precision/high sensitivity NP beyond the SM
1997 … LPC Trap
-Ion/atoms collisions
2003 … Motrims
-DESIR , Decay Excitation Spectroscopy with Radioactive Ions
2006….SHIRAC
-Nuclear structure
2012…EMILIE
2012…S3 Low energy Beam lines

## Slide 3
Technologies
-Simulations
-Mechanical design
-RF electronics
-High Voltage
-Vacuum calculations
-Diagnostics
-Slow control
…
=
PEOPLE

## Slide 4
LPC Trap
Precision measurements in beta-decay constitute very sensitive tools to test some aspects of the Standard Model!
 Fundamental symmetries of weak interaction
The LPCTrap experiment @ GANIL:
b-n angular correlation parameter abn
(for allowed transitions, non-oriented nuclei)
a (CS, CV, CT, CA)  tests of V-A theory
a (r) + Ft  Vud from mirror decays
a inferred from b–ion coincidences
a
Decay rate:
recoil
b
Paul trap

## Slide 5
LIRAT
LIRAT
LPCTrap
Production target
ECR source
Beams characteristics:
10-30 keV, 80 p mm mrad
rate: 107 - 108 ions/s
SPIRAL beam :
10-30 keV
DE ~ 20eV
Paul trap :
Effective potential :
2-3 V
?
16
LPC Trap

## Slide 6
Cooling ?
Cooling is phase space reduction i.e. emittance reduction
It can only occur with dissipative forces like buffer gas collisions
Resistive, laser…
Cooling a beam tends to reduce the emittance and increase
the brightness
B=I/exey you can also add the E spread B=I/exey DE
high brightness=high quality beam= pin point beam=all RIB in
« one point »
For radioactive ions the universal, fast, cheap technique is
buffer gas cooling inside a trapping device
The ion lose their energy by colliding with the buffer gas
the ion trapping keep the ion as a beam or as a bunch

## Slide 7
Cooling : ion – gaz interaction interaction
Helium injection
E= 60 keV
ε=80π.mm,mrad
Ion beam
Injection cell
Grounded injection electrode
Injection lenses
Chart: 
| 0 | 0.05 | 0.1 | 0.15 | 0.2 | 0.25 | 0.3 | 0.35 | 0.4 | 0.45 | 0.5 | 0.55000000000000004 | 0.6 | 0.65 | 0.7 | 0.75 | 0.8 | 0.85 | 0.9 | 0.95 | 1 | 1.05 | 1.1000000000000001 | 1.1499999999999999 | 1.2 | 1.25 | 1.3 | 1.35 | 1.4 | 1.45 | 1.5 | 1.55 | 1.6 | 1.65 | 1.7 | 1.75 | 1.8 | 1.85 | 1.9 | 1.95 | 2 | 2.0499999999999998 | 2.1 | 2.15 | 2.2000000000000002 | 2.25 | 2.2999999999999998 | 2.35 | 2.4 | 2.4500000000000002 | 2.5 | 2.5499999999999998 | 2.6 | 2.65 | 2.7 | 2.75 | 2.8 | 2.85 | 2.9 | 2.95 | 3 | 3.05 | 3.1 | 3.15 | 3.2 | 3.25 | 3.3 | 3.35 | 3.4 | 3.45 | 3.5 | 3.55 | 3.6 | 3.65 | 3.7 | 3.75 | 3.8 | 3.85 | 3.9 | 3.95 | 4 | 4.05 | 4.0999999999999996 | 4.1500000000000004 | 4.2 | 4.25 | 4.3 | 4.3499999999999996 | 4.4000000000000004 | 4.45 | 4.5 | 4.55 | 4.5999999999999996 | 4.6500000000000004 | 4.7 | 4.75 | 4.8 | 4.8499999999999996 | 4.9000000000000004 | 4.95 | 5 | 5.05 | 5.0999999999999996 | 5.15 | 5.2 | 5.25 | 5.3 | 5.35 | 5.4 | 5.45 | 5.5 | 5.55 | 5.6 | 5.65 | 5.7 | 5.75 | 5.8 | 5.85 | 5.9 | 5.95 | 6 | 6.05 | 6.1 | 6.15 | 6.2 | 6.25 | 6.3 | 6.35 | 6.4 | 6.45 | 6.5 | 6.55 | 6.6 | 6.65 | 6.7 | 6.75 | 6.8 | 6.85 | 6.9 | 6.95 | 7 | 7.05 | 7.1 | 7.15 | 7.2 | 7.25 | 7.3 | 7.35 | 7.4 | 7.45 | 7.5 | 7.55 | 7.6 | 7.65 | 7.7 | 7.75 | 7.8 | 7.85 | 7.9 | 7.95 | 8 | 8.0500000000000007 | 8.1 | 8.15 | 8.1999999999999993 | 8.25 | 8.3000000000000007 | 8.35 | 8.4 | 8.4499999999999993 | 8.5 | 8.5500000000000007 | 8.6 | 8.65 | 8.6999999999999993 | 8.75 | 8.8000000000000007 | 8.85 | 8.9 | 8.9499999999999993 | 9 | 9.0500000000000007 | 9.1 | 9.15 | 9.1999999999999993 | 9.25 | 9.3000000000000007 | 9.35 | 9.4 | 9.4499999999999993 | 9.5 | 9.5500000000000007 | 9.6 | 9.65 | 9.6999999999999993 | 9.75 | 9.8000000000000007 | 9.85 | 9.9 | 9.9499999999999993 | 10 | 10.050000000000001 | 10.1 | 10.15 | 10.199999999999999 | 10.25 | 10.3 | 10.35 | 10.4 | 10.45 | 10.5 | 10.55 | 10.6 | 10.65 | 10.7 | 10.75 | 10.8 | 10.85 | 10.9 | 10.95 | 11 | 11.05 | 11.1 | 11.15 | 11.2 | 11.25 | 11.3 | 11.35 | 11.4 | 11.45 | 11.5 | 11.55 | 11.6 | 11.65 | 11.7 | 11.75 | 11.8 | 11.85 | 11.9 | 11.95 | 12 | 12.05 | 12.1 | 12.15 | 12.2 | 12.25 | 12.3 | 12.35 | 12.4 | 12.45 | 12.5 | 12.55 | 12.6 | 12.65 | 12.7 | 12.75 | 12.8 | 12.85 | 12.9 | 12.95 | 13 | 13.05 | 13.1 | 13.15 | 13.2 | 13.25 | 13.3 | 13.35 | 13.4 | 13.45 | 13.5 | 13.55 | 13.6 | 13.65 | 13.7 | 13.75 | 13.8 | 13.85 | 13.9 | 13.95 | 14 | 14.05 | 14.1 | 14.15 | 14.2 | 14.25 | 14.3 | 14.35 | 14.4 | 14.45 | 14.5 | 14.55 | 14.6 | 14.65 | 14.7 | 14.75 | 14.8 | 14.85 | 14.9 | 14.95 | 15 | 15.05 | 15.1 | 15.15 | 15.2 | 15.25 | 15.3 | 15.35 | 15.4 | 15.45 | 15.5 | 15.55 | 15.6 | 15.65 | 15.7 | 15.75 | 15.8 | 15.85 | 15.9 | 15.95 | 16 | 16.05 | 16.100000000000001 | 16.149999999999999 | 16.2 | 16.25 | 16.3 | 16.350000000000001 | 16.399999999999999 | 16.45 | 16.5 | 16.55 | 16.600000000000001 | 16.649999999999999 | 16.7 | 16.75 | 16.8 | 16.850000000000001 | 16.899999999999999 | 16.95 | 17 | 17.05 | 17.100000000000001 | 17.149999999999999 | 17.2 | 17.25 | 17.3 | 17.350000000000001 | 17.399999999999999 | 17.45 | 17.5 | 17.55 | 17.600000000000001 | 17.649999999999999 | 17.7 | 17.75 | 17.8 | 17.850000000000001 | 17.899999999999999 | 17.95 | 18 | 18.05 | 18.100000000000001 | 18.149999999999999 | 18.2 | 18.25 | 18.3 | 18.350000000000001 | 18.399999999999999 | 18.45 | 18.5 | 18.55 | 18.600000000000001 | 18.649999999999999 | 18.7 | 18.75 | 18.8 | 18.850000000000001 | 18.899999999999999 | 18.95 | 19 | 19.05 | 19.100000000000001 | 19.149999999999999 | 19.2 | 19.25 | 19.3 | 19.350000000000001 | 19.399999999999999 | 19.45 | 19.5 | 19.55 | 19.600000000000001 | 19.649999999999999 | 19.7 | 19.75 | 19.8 | 19.850000000000001 | 19.899999999999999 | 19.95 | 20 | 20.05 | 20.100000000000001 | 20.149999999999999 | 20.2 | 20.25 | 20.3 | 20.350000000000001 | 20.399999999999999 | 20.45 | 20.5 | 20.55 | 20.6 | 20.65 | 20.7 | 20.75 | 20.8 | 20.85 | 20.9 | 20.95 | 21 | 21.05 | 21.1 | 21.15 | 21.2 | 21.25 | 21.3 | 21.35 | 21.4 | 21.45 | 21.5 | 21.55 | 21.6 | 21.65 | 21.7 | 21.75 | 21.8 | 21.85 | 21.9 | 21.95 | 22 | 22.05 | 22.1 | 22.15 | 22.2 | 22.25 | 22.3 | 22.35 | 22.4 | 22.45 | 22.5 | 22.55 | 22.6 | 22.65 | 22.7 | 22.75 | 22.8 | 22.85 | 22.9 | 22.95 | 23 | 23.05 | 23.1 | 23.15 | 23.2 | 23.25 | 23.3 | 23.35 | 23.4 | 23.45 | 23.5 | 23.55 | 23.6 | 23.65 | 23.7 | 23.75 | 23.8 | 23.85 | 23.9 | 23.95 | 24 | 24.05 | 24.1 | 24.15 | 24.2 | 24.25 | 24.3 | 24.35 | 24.4 | 24.45 | 24.5 | 24.55 | 24.6 | 24.65 | 24.7 | 24.75 | 24.8 | 24.85 | 24.9 | 24.95 | 25 | 25.05 | 25.1 | 25.15 | 25.2 | 25.25 | 25.3 | 25.35 | 25.4 | 25.45 | 25.5 | 25.55 | 25.6 | 25.65 | 25.7 | 25.75 | 25.8 | 25.85 | 25.9 | 25.95 | 26 | 26.05 | 26.1 | 26.15 | 26.2 | 26.25 | 26.3 | 26.35 | 26.4 | 26.45 | 26.5 | 26.55 | 26.6 | 26.65 | 26.7 | 26.75 | 26.8 | 26.85 | 26.9 | 26.95 | 27 | 27.05 | 27.1 | 27.15 | 27.2 | 27.25 | 27.3 | 27.35 | 27.4 | 27.45 | 27.5 | 27.55 | 27.6 | 27.65 | 27.7 | 27.75 | 27.8 | 27.85 | 27.9 | 27.95 | 28 | 28.05 | 28.1 | 28.15 | 28.2 | 28.25 | 28.3 | 28.35 | 28.4 | 28.45 | 28.5 | 28.55 | 28.6 | 28.65 | 28.7 | 28.75 | 28.8 | 28.85 | 28.9 | 28.95 | 29 | 29.05 | 29.1 | 29.15 | 29.2 | 29.25 | 29.3 | 29.35 | 29.4 | 29.45 | 29.5 | 29.55 | 29.6 | 29.65 | 29.7 | 29.75 | 29.8 | 29.85 | 29.9 | 29.95 | 30 | 30.05 | 30.1 | 30.15 | 30.2 | 30.25 | 30.3 | 30.35 | 30.4 | 30.45 | 30.5 | 30.55 | 30.6 | 30.65 | 30.7 | 30.75 | 30.8 | 30.85 | 30.9 | 30.95 | 31 | 31.05 | 31.1 | 31.15 | 31.2 | 31.25 | 31.3 | 31.35 | 31.4 | 31.45 | 31.5 | 31.55 | 31.6 | 31.65 | 31.7 | 31.75 | 31.8 | 31.85 | 31.9 | 31.95 | 32 | 32.049999999999997 | 32.1 | 32.15 | 32.200000000000003 | 32.25 | 32.299999999999997 | 32.35 | 32.4 | 32.450000000000003 | 32.5 | 32.549999999999997 | 32.6 | 32.65 | 32.700000000000003 | 32.75 | 32.799999999999997 | 32.85 | 32.9 | 32.950000000000003 | 33 | 33.049999999999997 | 33.1 | 33.15 | 33.200000000000003 | 33.25 | 33.299999999999997 | 33.35 | 33.4 | 33.450000000000003 | 33.5 | 33.549999999999997 | 33.6 | 33.65 | 33.700000000000003 | 33.75 | 33.799999999999997 | 33.85 | 33.9 | 33.950000000000003 | 34 | 34.049999999999997 | 34.1 | 34.15 | 34.200000000000003 | 34.25 | 34.299999999999997 | 34.35 | 34.4 | 34.450000000000003 | 34.5 | 34.549999999999997 | 34.6 | 34.65 | 34.700000000000003 | 34.75 | 34.799999999999997 | 34.85 | 34.9 | 34.950000000000003 | 35 | 35.049999999999997 | 35.1 | 35.15 | 35.200000000000003 | 35.25 | 35.299999999999997 | 35.35 | 35.4 | 35.450000000000003 | 35.5 | 35.549999999999997 | 35.6 | 35.65 | 35.700000000000003 | 35.75 | 35.799999999999997 | 35.85 | 35.9 | 35.950000000000003 | 36 | 36.049999999999997 | 36.1 | 36.15 | 36.200000000000003 | 36.25 | 36.299999999999997 | 36.35 | 36.4 | 36.450000000000003 | 36.5 | 36.549999999999997 | 36.6 | 36.65 | 36.700000000000003 | 36.75 | 36.799999999999997 | 36.85 | 36.9 | 36.950000000000003 | 37 | 37.049999999999997 | 37.1 | 37.15 | 37.200000000000003 | 37.25 | 37.299999999999997 | 37.35 | 37.4 | 37.450000000000003 | 37.5 | 37.549999999999997 | 37.6 | 37.65 | 37.700000000000003 | 37.75 | 37.799999999999997 | 37.85 | 37.9 | 37.950000000000003 | 38 | 38.049999999999997 | 38.1 | 38.15 | 38.200000000000003 | 38.25 | 38.299999999999997 | 38.35 | 38.4 | 38.450000000000003 | 38.5 | 38.549999999999997 | 38.6 | 38.65 | 38.700000000000003 | 38.75 | 38.799999999999997 | 38.85 | 38.9 | 38.950000000000003 | 39 | 39.049999999999997 | 39.1 | 39.15 | 39.200000000000003 | 39.25 | 39.299999999999997 | 39.35 | 39.4 | 39.450000000000003 | 39.5 | 39.549999999999997 | 39.6 | 39.65 | 39.700000000000003 | 39.75 | 39.799999999999997 | 39.85 | 39.9 | 39.950000000000003 | 40 | 40.049999999999997 | 40.1 | 40.15 | 40.200000000000003 | 40.25 | 40.299999999999997 | 40.35 | 40.4 | 40.450000000000003 | 40.5 | 40.549999999999997 | 40.6 | 40.65 | 40.700000000000003 | 40.75 | 40.799999999999997 | 40.85 | 40.9 | 40.950000000000003 | 41 | 41.05 | 41.1 | 41.15 | 41.2 | 41.25 | 41.3 | 41.35 | 41.4 | 41.45 | 41.5 | 41.55 | 41.6 | 41.65 | 41.7 | 41.75 | 41.8 | 41.85 | 41.9 | 41.95 | 42 | 42.05 | 42.1 | 42.15 | 42.2 | 42.25 | 42.3 | 42.35 | 42.4 | 42.45 | 42.5 | 42.55 | 42.6 | 42.65 | 42.7 | 42.75 | 42.8 | 42.85 | 42.9 | 42.95 | 43 | 43.05 | 43.1 | 43.15 | 43.2 | 43.25 | 43.3 | 43.35 | 43.4 | 43.45 | 43.5 | 43.55 | 43.6 | 43.65 | 43.7 | 43.75 | 43.8 | 43.85 | 43.9 | 43.95 | 44 | 44.05 | 44.1 | 44.15 | 44.2 | 44.25 | 44.3 | 44.35 | 44.4 | 44.45 | 44.5 | 44.55 | 44.6 | 44.65 | 44.7 | 44.75 | 44.8 | 44.85 | 44.9 | 44.95 | 45 | 45.05 | 45.1 | 45.15 | 45.2 | 45.25 | 45.3 | 45.35 | 45.4 | 45.45 | 45.5 | 45.55 | 45.6 | 45.65 | 45.7 | 45.75 | 45.8 | 45.85 | 45.9 | 45.95 | 46 | 46.05 | 46.1 | 46.15 | 46.2 | 46.25 | 46.3 | 46.35 | 46.4 | 46.45 | 46.5 | 46.55 | 46.6 | 46.65 | 46.7 | 46.75 | 46.8 | 46.85 | 46.9 | 46.95 | 47 | 47.05 | 47.1 | 47.15 | 47.2 | 47.25 | 47.3 | 47.35 | 47.4 | 47.45 | 47.5 | 47.55 | 47.6 | 47.65 | 47.7 | 47.75 | 47.8 | 47.85 | 47.9 | 47.95 | 48 | 48.05 | 48.1 | 48.15 | 48.2 | 48.25 | 48.3 | 48.35 | 48.4 | 48.45 | 48.5 | 48.55 | 48.6 | 48.65 | 48.7 | 48.75 | 48.8 | 48.85 | 48.9 | 48.95 | 49 | 49.05 | 49.1 | 49.15 | 49.2 | 49.25 | 49.3 | 49.35 | 49.4 | 49.45 | 49.5 | 49.55 | 49.6 | 49.65 | 49.7 | 49.75 | 49.8 | 49.85 | 49.9 | 49.95 | 50 | 50.05 | 50.1 | 50.15 | 50.2 | 50.25 | 50.3 | 50.35 | 50.4 | 50.45 | 50.5 | 50.55 | 50.6 | 50.65 | 50.7 | 50.75 | 50.8 | 50.85 | 50.9 | 50.95 | 51 | 51.05 | 51.1 | 51.15 | 51.2 | 51.25 | 51.3 | 51.35 | 51.4 | 51.45 | 51.5 | 51.55 | 51.6 | 51.65 | 51.7 | 51.75 | 51.8 | 51.85 | 51.9 | 51.95 | 52 | 52.05 | 52.1 | 52.15 | 52.2 | 52.25 | 52.3 | 52.35 | 52.4 | 52.45 | 52.5 | 52.55 | 52.6 | 52.65 | 52.7 | 52.75 | 52.8 | 52.85 | 52.9 | 52.95 | 53 | 53.05 | 53.1 | 53.15 | 53.2 | 53.25 | 53.3 | 53.35 | 53.4 | 53.45 | 53.5 | 53.55 | 53.6 | 53.65 | 53.7 | 53.75 | 53.8 | 53.85 | 53.9 | 53.95 | 54 | 54.05 | 54.1 | 54.15 | 54.2 | 54.25 | 54.3 | 54.35 | 54.4 | 54.45 | 54.5 | 54.55 | 54.6 | 54.65 | 54.7 | 54.75 | 54.8 | 54.85 | 54.9 | 54.95 | 55 | 55.05 | 55.1 | 55.15 | 55.2 | 55.25 | 55.3 | 55.35 | 55.4 | 55.45 | 55.5 | 55.55 | 55.6 | 55.65 | 55.7 | 55.75 | 55.8 | 55.85 | 55.9 | 55.95 | 56 | 56.05 | 56.1 | 56.15 | 56.2 | 56.25 | 56.3 | 56.35 | 56.4 | 56.45 | 56.5 | 56.55 | 56.6 | 56.65 | 56.7 | 56.75 | 56.8 | 56.85 | 56.9 | 56.95 | 57 | 57.05 | 57.1 | 57.15 | 57.2 | 57.25 | 57.3 | 57.35 | 57.4 | 57.45 | 57.5 | 57.55 | 57.6 | 57.65 | 57.7 | 57.75 | 57.8 | 57.85 | 57.9 | 57.95 | 58 | 58.05 | 58.1 | 58.15 | 58.2 | 58.25 | 58.3 | 58.35 | 58.4 | 58.45 | 58.5 | 58.55 | 58.6 | 58.65 | 58.7 | 58.75 | 58.8 | 58.85 | 58.9 | 58.95 | 59 | 59.05 | 59.1 | 59.15 | 59.2 | 59.25 | 59.3 | 59.35 | 59.4 | 59.45 | 59.5 | 59.55 | 59.6 | 59.65 | 59.7 | 59.75 | 59.8 | 59.85 | 59.9 | 59.95 | 60 | 60.05 | 60.1 | 60.15 | 60.2 | 60.25 | 60.3 | 60.35 | 60.4 | 60.45 | 60.5 | 60.55 | 60.6 | 60.65 | 60.7 | 60.75 | 60.8 | 60.85 | 60.9 | 60.95 | 61 | 61.05 | 61.1 | 61.15 | 61.2 | 61.25 | 61.3 | 61.35 | 61.4 | 61.45 | 61.5 | 61.55 | 61.6 | 61.65 | 61.7 | 61.75 | 61.8 | 61.85 | 61.9 | 61.95 | 62 | 62.05 | 62.1 | 62.15 | 62.2 | 62.25 | 62.3 | 62.35 | 62.4 | 62.45 | 62.5 | 62.55 | 62.6 | 62.65 | 62.7 | 62.75 | 62.8 | 62.85 | 62.9 | 62.95 | 63 | 63.05 | 63.1 | 63.15 | 63.2 | 63.25 | 63.3 | 63.35 | 63.4 | 63.45 | 63.5 | 63.55 | 63.6 | 63.65 | 63.7 | 63.75 | 63.8 | 63.85 | 63.9 | 63.95 | 64 | 64.05 | 64.099999999999994 | 64.150000000000006 | 64.2 | 64.25 | 64.3 | 64.349999999999994 | 64.400000000000006 | 64.45 | 64.5 | 64.55 | 64.599999999999994 | 64.650000000000006 | 64.7 | 64.75 | 64.8 | 64.849999999999994 | 64.900000000000006 | 64.95 | 65 | 65.05 | 65.099999999999994 | 65.150000000000006 | 65.2 | 65.25 | 65.3 | 65.349999999999994 | 65.400000000000006 | 65.45 | 65.5 | 65.55 | 65.599999999999994 | 65.650000000000006 | 65.7 | 65.75 | 65.8 | 65.849999999999994 | 65.900000000000006 | 65.95 | 66 | 66.05 | 66.099999999999994 | 66.150000000000006 | 66.2 | 66.25

VRF
RF voltage for trapping
VRF
VRF
VRF
VRF
VRF
VRF
VRF
VRF
VRF
VRF
VRF
VRF
VRF
VRF
VRF
VRF
Trapping: radial RF electric field
VDC
DC potential for ion guiding
+VDC
+VDC
+VDC
+VDC
+VDC
+VDC
+VDC
+VDC
+VDC
+VDC
+VDC
+VDC
+VDC
+VDC
+VDC
+VDC
Guiding: axial DC electric field
4 simultaneous actions on the beam:
Ion cooling principle
Deceleration voltage: HV≈60kV-100V
Ion deceleration @ E=100eV
High voltage
platform
Quadrupolar Structure
Quadrupole vaccum chamber
Goal: beam emittance reduction
Extraction cell
Extraction lens
Grounded
extraction lenses
E=59,9keV
ε<3π.mm.mrad
Ion @ E=100eV

## Slide 8
Low Energy Beam line at GANIL
HV
Pulsed cavity
Beam from
LIRAT
Paul Trap
RFQ
(Cooling & bunching)
Pulsed cavity
10 keV
100 eV - <1 eV
1 keV
100 eV
0 eV
KEion :
DKE:
~20 eV
~1 eV
~0.1 eV
buffer-gas: H2 / He
accumulation: 200ms (cycle)
~ 108 6He+/s
~2 104 6He+ /cycle
Total efficiency: ~ 10-3-10-2

## Slide 9
LIRAT
RFQCB
Paul trap
& detection
chamber
Experimental method: LPCTrap @ GANIL

## Slide 10
RF : f : 0.8 to 2 MHz
Parameters V0 : 100 to 250 Volts
Pressure : some mTorr
of Hydrogen
UHV 10-8 torr
RFQ Cooler Buncher

## Slide 11
1 cm
6 rings, open geometry
1 mm3 cloud
potential well ~ 10 Volts
The transparent Paul trap (Delahaye 2002)
Injection : 20 %
Capacity : > 105 ions
Life time : > 1 second
(6Li+ ions,VRF = 120 Vpp, fRF = 1.15 MHz)
1 cm

## Slide 12
LPC Trap
Helium 6
Argon 35
Physics results underway…

## Slide 13
ATOM trap
Ion/Atoms collisons
  Aq+ + B → A(q-r)+ + Br+ Electronic Capture
  Aq+ + B → Aq+ + Br++re- Ionisation
  Aq+ + B → Aq+ + B* Excitation
(1)
+
+
+
+
+
Capture électronique
Q Value: Potential Energy Variation
Diffusion angle θ : Interaction potential and dynamics
θ

## Slide 14
Recoil ion momentum spectroscopy
  detection system resolution
  Target temperature
  Target size
Experiments
Projectile
θ
Target
Spectrometer
Recoil ion detector
TOF (Tproj–TRI)
Position X,Y
Recoil ion momentum
Q , θ
x
y
z

## Slide 15
MOT
< 200 µK
Système de détection
Noble Gases, Alkali, rare earth
Fundamental – excited – oriented – aligned
MOT vs. Jet
Supersonic jet
Température ~ 1 K
Résolution Température
Target Gaz rares
State Fundamental
COLTRIMS

## Slide 16
Target
CCD camera measurements
Température < 200 µK
Density > 1011 atoms/cm3
Diameter ~ 1mm
Target: fundamental - excited - oriented
87 Rb Magneto OpticalTrap

## Slide 17: Results
High Resolution
DPR = 0.05 u.a. (DER < meV)
Relative cross sections~ 0.1%
(Collisions Na+ + Rb(5s,5p) @ 0.5, 2, et 5 keV)
Na+ + Rb(5s,5p) @ 2 keV
Rb(5s)
Rb(5p)
Na+ + Rb(5s)  Na(3s) + Rb+
Mocc tests (CELIA)
 Excellent agreement
Diffraction de Fraunhofer
(onde de matière du projectile)

## Slide 18
General view cooler and HRS
HRS
RFQ cooler
Beam 1+
High Intensity Cooling

## Slide 19
Calculation by T. Kurtukian Nieto (CENBG)
R ~22000
R ~14400
SPIRAL II HIGH INTENSITY COOLER

## Slide 20
Requirements for SPIRAL II, Purification
Beams to handle
Emittance
80 πmm.mrad
Intensity
≤ 1µAe
Energy Spread
50eV max
Mass
12 UMA ≤ m ≤ 200 UMA
  Emittance: ≤ 3 πmm.mrad
  Energy Spread: 1eV
  Transmission for 1µAe:
      20 % for m ≈ 12 UMA
            40 % for m ≈ 40 UMA
            60 % for m ≥ 90 UMA
Cooled beams Specifications for the HRS (See next talk) continuous beam
The ion energy will be between 15 to 43 keV (Singly Charged)
Figure of merit for cooling
Extended Brightness
B=T/eDE
B=20

## Slide 21
Technical design
Electrode
Insulator
Support rod
Capacitor
18 segments Length 40mm
gap = 0.3mm
R électrode = 5.7mm
R0 = 5mm
Length ~725mm
Structure support
RF Feed
18 segments
Beam
Pressure a few Pa
Simple extraction
Injection lenses
High Voltage Platform
up to 60 kV
Fully Bakeable

## Slide 22
RF system
After numerical simulations space charge for 1µA is too high to have britgh beams
In order to fight the space charge (1µA) we decided to devellop a high voltage
high frequency RF system.
For RF feeding usually a resonant circuit with a ferrite transformer is used
Some limitations are the Vpp, power, ferrite heating
We devellop a circuit with no ferrites the secondary are 2 large copper loops
(10 cm radius) we are able to reach 8kV at 5 Mhz or 6kV at 9Mhz
Configuration | Fmin (MHz) | Fmax (MHz) | VRF max (kV)
2X8 loops | 2.22 | 4.93 | 8
2X5 loops | 2.54 | 6.42 | 7.5
2X2 loops | 3.6 | 8.98 | 6

## Slide 23
Quadrupole structure
RF system
2,1 MHz to 4,9 MHz
Vpp: 8kV
RFQ cooler
Slow control
Electronics
RFQ cooler demonstrator at LPC CAEN

## Slide 24
Tests and Measurements
No RIB Available…
Ion surface ionization source, Alkali Cs or K
Curent up to 1µA energy below 5 keV
Several diagonostics to measure
-Transmission
-Emittance
-Energy spread
-cooled beam purity
RFQ cooler experimental line
MCP detector with
retarding grid
Ion gun
Faraday cup
Faraday cup
Emittance-meter
RFQ cooler
Beam

## Slide 25
Transmission
Chart: Q - Mathieu parameter
| 9.4000038535074854E-2 | 0.14304353690120086 | 0.19208703526732687 | 0.23295661723909852 | 0.2779131574080474 | 0.3187827393798191 | 0.37191319594312222 | 0.40052190332336235 | 0.44956540168948844 | 0.51086977464714589 | 0.54765239842174041 | 0.60895677137939797 | 0.65391331154834675 | 0.71113072630882712 | 0.74382639188624444 | 0.76017422467495321 | 0.8010438066467247 | 0.8092177230410792 | 0.83373947222414213 | 0.85826122140720518 | 0.90730471977333116
50nA | 0.0042105 | 0.13649 | 0.51807 | 0.7 | 0.76316 | 0.78053 | 0.76105 | 0.76789 | 0.79351 | 0.79772 | 0.82105 | 0.81982 | 0.73333 | 0.81228 | 0.79912 | 0.50982 | 0.52263 | 0.31263 | 0.28053 | 0.020526 | 0
500nA | 0.013053 | 0.18282 | 0.43168 | 0.59828 | 0.66832 | 0.67805 | 0.6626 | 0.70802 | 0.69466 | 0.69275 | 0.81183 | 0.74141 | 0.53645 | 0.76412 | 0.60878 | 0.17195 | 0.32824 | 0.2208 | 0.12748 | 0.0021183 | 3.8168e-05
1000nA | 0.12249 | 0.30622 | 0.50909 | 0.61148 | 0.60766 | 0.58852 | 0.63828 | 0.62488 | 0.4555 | 0.75789 | 0.76364 | 0.7378 | 0.48708 | 0.60096 | 0.27273 | 0.3445 | 0.34833 | 0.29665 | 0.21627 | 0.018565 | 9.5694e-06
Ions K+ @ 5KeV - Pressure=1 Pa – RF frequency= 3,5 MHz
Same kind of results were obtained with heavier ion (Ceasium)

## Slide 26
Emittance
Ion beam intensity (nA) | Transmission (%) | Transverse emittance @ 60 keV (mm.mrad)
50 nA | 74,2 % | 2,09
500 nA | 76,2 % | 2,17
1000nA | 76,4 % | 2,21
Ions K+ @ 5KeV - Pressure=1 Pa – RF frequency= 3,5 MHz

## Slide 27
Energy spread measurement with a dedicated detector.
Detector principle
Beam
Beam
Detector
Ion beam intensity (nA) | Transmission (%) | sigmaE of longitudinal energy spread (eV)
50 | 67 | 0.7
500 | 60 | 1
1000 | 54 | 1.1
sensitivity ~0.6eV
Ions Cs+ @ 5KeV, RFQ setup: Pressure @ 2Pa & RF @ 3.5 MHz
Results:
results in within specs

## Slide 28
  Emittance: ≤ 3 πmm.mrad
  Energy Spread: 1eV
  Transmission for 1µAe:
      20 % for m ≈ 12 UMA
            40 % for m ≈ 40 UMA
            60 % for m ≥ 90 UMA
Performance/Requirements
  Emittance: 2 π mm.mrad
  Energy Spread: ~1eV
  Transmission for 1µAe:~70%
  ( mass 40 to 130)
B=20
B=35… beyond specs
Still
Real test will be with the HRS
Requirements Present

## Slide 29
Nuclear environment
The cooler will be located in a yellow zone and its design has to be adapted
to the heavy radiation environnent
Maintenance, continuous confinement , vinyl sleeve mounting…
limited time for repairs Quick connectors,
Robustness, as simple as possible to limit failure
Gas recycling feasability ok, has to be tested on the device and ions
Deported electronics (slow control)

## Slide 30
Nuclear environment
Some solutions

## Slide 31
Debuncher
From a bunches to a continuous beam

## Slide 32
Debuncher
From a bunches to a continuous beam
Principle

## Slide 33
Emilie debuncher quadrupole structure
The quadrupole structure with the wiring

## Slide 34
RF system
Production of RF voltages on the quadrupole
Frequency range: 2MHz to 6 MHz
Voltage range: (pic to pic) : 0 to 2.4kV
Principle of the production system RF
Vrf: 450Vpp @ 4MHz
RF circuit on the test bench

## Slide 35
11
12
x2
8 channels voltage
Amplifier 500V
G=50 & BW=15KHz
2x4 channels AWG
LECROY ArbStudio
Sequencer:
delay generator
Wired splitter
8 -> 23 channels
Debunching voltage ramps generator
Goal: Produce 8 voltages ramps (up to 100v/ms)
optical
fiber
link
RF

## Slide 36
Tests bench (May-June 2015)
Emilie debuncher in SHIRaC vaccum chamber
Test bunch
Debunching voltage ramps generator

## Slide 37
Injection and extraction lenses
Transmission: 95%
Transmission: 45%
A
B
Transmission with SHIRaC extraction lenses
Transmission without SHIRaC extraction lenses
SIMION simulations (by Emil Traykov)
Ion beam
Extraction ground electrode
Exit area
Entrance area

## Slide 38
First debunching signal
Ion source
Faraday cup
Debuncher
Ion beam
Faraday cup
700mm
HV platform
Mcp
Experimental beam line
Quadripole triplet

## Slide 39
l1,2
l2
l1
towards DESIR
in-gas-cell
Ionization
(low resolution)
EVRs
Neutralized EVRs
Photoions
in-gas-jet
Ionization
(medium resolution)
gas cell
S-shape RFQ
diff. pumping
mRFQ
QMF
(m/Dm ~ 200)
RFQ buncher
MR ToF MS
(m/Dm ~ 105)
bender
10-2 to 1 mbar
10-4 - 10-2 mbar
10-9 mbar
200 - 500 mbar Ar
from
S3
towards Multi Purpose Room - Identification/detection
Lasers systems:
TiSa dye lasers narrow bandwidth CW
Basic principles of IGLIS @ S3
Pulse up
(~ 3 kV)
10-7 - 10-5 mbar
S3 -LEB Phase 0
commissioning
(ANR REGLIS3)
Phase 1
operation
Phase 2
upgrade
Provide pure & low energy beams from S3
Perform medium resolution laser spectroscopy

## Slide 40
RFQs status
Mobile ion source
S-Shape RFQ
mRFQ
QMF
Einzel Lens
Bent @76°
RFQ-Buncher
Mobile MCP-FC
Silicium Mobile
45° Mirror
Einzel Lens
3D study almost completed
RFQs Assembly : LPC Caen
  S-Shape RFQ
  mRFQ
  EL + QMF + EL
  RFQ-Buncher
  Mobile Thermo-ionic Source (x1)
  Mobile MCP + Faraday Cup (x2)
  Mobile Silicium (x2 ?)
  Laser Mirror 45°
  RF Devices (x4)
  Pumping
  Chambers + Frame + Bellows
Ion trajectory simulations with buffer gas completed for REGLIS3
Higher pressure
zone
Buncher simulations
Completed end of 2015

## Slide 41
RFQs status
REGLIS3 RFQs: design validated, manufacturing ongoing @ LPC
 Start tests with RF & gas in November-December
REGLIS3 diagnostics & RFQbuncher
 Final 3D study in progress

## Slide 42
RFQs status: RF, vacuum & slow control
Based on resonant RF circuit
2 circuits 0.4-1.3 MHz / 1.3 kVptp / ~20 Watts
Covers all masses from A=40 to A>300
 Validation with real RFQ structures in November
Study in progress
RFQs vacuum calculations completed
Vacuum system  validated
REGLIS3 slow control under study
(architecture validated)

## Slide 43
MR-ToF-MS (PILGRIM)
Simulations and mechanical design  completed
Assembly  ongoing
Slow control  under development
Offline tests @LPC (K+ & Ca+)  first semester 2016
Pulsed
offline source

## Slide 44
RFQs simulations (E. Traykov)
Transmission: 80%  100%
Background gas pressure (Argon): 0.01  0.1 mbar
URF = 100  800 V, fRF = 0.5  1 MHz
Cooled beam at exit of SRFQ
Transmission: 100%
Small r0 = 3 mm
Differential pumping measured
Steering possibility
Transmission: 80 - 100%
Resolving power > 200
fRF same as SRFQ, mRFQ
Novel operation modes  R > 1500 (e  80%)
(technically demanding, to be tested)
Higher pressure zone
Compact dimensions & Bending beam axis
Small apertures for differential pumping
Low gas pressure operation
Buncher section to be studied along with pulse up electrode & MR-ToF-MS
S-shape RFQ
mRFQ
QMF
RFQ-Buncher

## Slide 45
He
CF16
CF250
KF40
Primary gauge
Full range gauge
Manual valve
Venting controled valve
Pumping Controled valve
P
F
F
F
F
P
F
F
Gas Cell + sRFQ
mRFQ
TP
KF16
Screw P
CF40
P
CF200
KF25
TP
CF40
P
CF100
KF16
TP
P
CF100
KF16
TP
P
Screw P
CF200
KF25
TP
CF40
P
Scroll P
Buncher
KF40
P
N2
CF16
Automatic safety valve
KF25
Automatic inlet isolation valve
Automatic inlet isolation valve
QMF
E lens 1
E lens 2
KF40
???
CF40?
ISO100
ISO160
Gate valve
RFQs status: Vacuum , Command & Control

## Slide 46
REGLIS3 – S-Shape RFQ
45° mirror
Entrance electrodes (x2)
RF Rigid Conductor (x4)
Side plate (x2)
Capacitor + Elec. Resistance
Emil Traykov
Flasque
Manufacturing in progress in LPC workshop

## Slide 47
REGLIS3 – mRFQ
Emil Traykov
mRFQ Entrance Rods
RF Rigid Conductor (x4)
Capacitors
CMS Elec. Resistances on PCB
PCB Plate (x4)
Manufacturing in progress in LPC workshop

## Slide 48
REGLIS3 – EL+QMF+EL
Emil Traykov
QMF
Einzel Lens
Einzel Lens
Einzel Lenses : Manufacturing in progress in LPC workshop
QMF : Study finished - Manufacturing in LPC workshop in November

## Slide 49
REGLIS3 – RFQ-Buncher
Sketch
Emil Traykov
0°
76°
Study in progress
Missing inputs:
Simulations of
- Buncher structure
- Transfer line to MR-ToF
Buncher
Cooler

## Slide 50
REGLIS3 – RFQs Vacuum system
Turbo V300 CF100 + Valve
Turbo V1000 CF200 + Valve
Turbo V1000 CF200
+ Valve
Turbo V300 CF100
+ Valve
Full range gauge
Turbo 2300 CF250
(STP-iXA3306) + Valve ?
(Pressure estimate based on differential pumping measurements & calculations)
P < 10-2 mbar
P < 2.10-4 mbar
P < 10-6 mbar
P < 10-4 mbar
P < 3.10-2 mbar (inside cooler)
P < 3.10-3 mbar (outside cooler)
P < a few mbars?

## Slide 51
REGLIS3 – RFQs Vacuum
Differential pumping measurements & simple calculations were used to determine
pumping speed requirements

## Slide 52
REGLIS3 – Slow control
Chassis PXIe-1065
ETHERNET
PXIE 8135 Win 7 64 bit
DC power supplies for RFQ
Crate Wiener MPOD
ETHERNET
Switch
Ethernet
PC
ETHERNET
Primary
pump
X1
Pumps PFEIFFER
X4
Gate valves
&
translations
TOR
RS232
Gauge
crates
X2
RS485
Pxi 6528
Acquisition
Pxi 8431/8
RS485
Pxi 8430/8
RS232
Pxi 6528
Pxi 6528
Pxi 8431/8
RS485
Crates
x3
N°1
N°2
N°3
Brooks
x1
RF AMPLI
X3
(Buncher X1)
RS485
OSCILO X2
?
Motor
CAPA
X4
Motor
Gas Cell
RS485
?
?
?
Pxi 5402
Gene 20 MHz
Pxi 5402
Gene 20 MHz
Pxi 5402
Gene 20 MHz
Pxi 5402
Gene 20 MHz
BNC
Gas cell
Pumps
(roots & screw)
?
(Control based on LabWindows CVI software)

## Slide 53
Conclusion
All kind of trapping and cooling devices have been develloped, constructed
and run at LPC
Applications range from Particle to atomic physics and beamlines
With some breakthrough results
Long time expertise in the field

## Slide 54
THANKS for
Your Attention
and to
all the contributors of these developments